System Name (ie: name of your store, business, etc.)

|  | TRANSIENT TOTAL COLIFORM SITE SAMPLING PLAN State Form 55982 (R2 / 3-20) INDIANA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT |  |
| --- | --- | --- |

PWSID

Date (month, day, year)

STEP 1. Identify and describe the location where you collect a routine sample for coliform bacteria. This location is from your distribution system.

Example: kitchen sink, bathroom sink, break room sink, etc.

Routine Location

STEP 2. Identify repeat sample locations. These are your repeat sample sites, which you will use if you have an unsatisfactory or total coliform present routine sample result.

Original Routine Location

*

Original refers to the location where the original routine sample was collected.

(same location from Step 1)

Upstream Location

Upstream refers to a location closer to the well than your routine location.

Downstream Location

Downstream refers to a location further from the well than your routine location.          (For a full definition of these terms, please see the attached document titled Repeat Sample Locations Definition         or refer to the following web page http://www.in.gov/idem/cleanwater/2494.htm.)

STEP 3. Identify the well tap (located near the well and prior to any bladder/storage tank/treatment).  This is a source sample tap that is required by the Ground Water Rule (327 IAC 8-2.3-4(a)(2). It is used only when a routine sample is positive. If you have more than one well, please identify the locations of any other well sample taps.

Source Sample Location

If you don’t have a source water sample tap, one needs to be installed immediately. Please call IDEM Drinking Water Branch at (317) 234-7430 or at (800) 451-6027 ext. 5 to speak with someone from the Drinking Water Capacity Development Section about sample tap  specifications and where the source sample tap should be located.

STEP 4. Please use the space below to draw a simple schematic of your sample sites as identified in steps 1-3 above. Include wells, taps, storage and any treatment (including a water softener) at your facility on the drawing.

System Schematic

STEP 5. After completing this form, you must sign it below, then either mail or e-mail it to the IDEM Drinking Water Branch. You must also retain a copy for your records.

Mail to:

Indiana Department of Environmental Management

100 N. Senate Ave IGCN 1255; Indianapolis, IN 46204

Or E-mail: CAPCERT@idem.in.gov

______________________________________________

Name

________________________   _____________________

Signature 			              Date (month, day, year)

Should you have questions, please contact the IDEM Drinking Water Branch at

(317) 234-7430 or at (800) 451-6027 ext. 5 to speak with someone from the Drinking Water Capacity Development Section about this form.