|  | MAMMOGRAPHY MACHINE INSPECTION State Form 45711 (R2 / 5-12) INDIANA STATE DEPARTMENT OF HEALTH MEDICAL RADIOLOGY SERVICES |
| --- | --- |
| Facility registration number | Name of facility |
| Date of inspection (month, day, year) | Date of last inspection (month, day, year) | Machine identification (check one) Certified Non-certified Mixed |
| Check to add this machine | Check to delete this machine | Name of new owner (if applicable) |
| Machine number | Machine design (use codes) | Location within facility | Manufacturer |
| Model number | Serial number | Means of beam collimation (check one) Adjustable Cone Diaphragm Other None |
| Maximum machine rating (kVp) | Maximum machine rating (mA/mAs) | Utilization mode F M P |
| Date of manufacture (month, year) | Date of installation (month, year) |
| Explain all Unsatisfactory or Not Applicable answers on SF 47602, Comment Page. | Satisfactory | Unsatisfactory | Not Applicable |
| Dedicated equipment |  |  |  |
| Procedure manual |  |  |  |
| Target / filter combination |  |  |  |
| Anti-scatter grid capability |  |  |  |
| Terminate exposures greater than ½ second at any time |  |  |  |
| Control in shielded position |  |  |  |
| Indication of x-ray production - visual at operator position |  |  |  |
| Indication of x-ray termination - audible |  |  |  |
| Technique factors indicated before exposure |  |  |  |
| SID indicator (minimum 50 cm) |  |  |  |
| Half-value layer |  |  |  |
| Compression device meets requirements |  |  |  |
| % misalignment of light vs. radiant field |  |  |  |
| % misalignment of indicated vs. actual field size – chest wall |  |  |  |
| Radiation field restricted to image receptor size |  |  |  |
| Average glandular dose |  |  |  |
| kVp is accurate to +/- 2 kVp and meets all other requirements |  |  |  |
| Automatic exposure control is present and meets all other requirements |  |  |  |
| Reproducibility - exposure |  |  |  |
| Reproducibility - timer |  |  |  |
| Linearity |  |  |  |
| QUALITY ASSURANCE |  |  |  |
| Program in place |  |  |  |
| Program reviewed annually |  |  |  |
| Records available for three (3) years |  |  |  |
| Processor performance evaluated prior to first patient - Daily |  |  |  |
| Dark room cleanliness - Daily |  |  |  |
| Processor performance - Daily |  |  |  |
| Screen cleanliness - Weekly |  |  |  |
| Viewbox / viewing conditions - Weekly |  |  |  |
| Image quality (phantom) - Monthly |  |  |  |
| Repeat / retake analysis - Quarterly |  |  |  |
| Fixer retention analysis – Quarterly |  |  |  |
| Dark room fog – Semi-annually |  |  |  |
| Screen-film contact – Semi-annually |  |  |  |
| Compression – Semi-annually |  |  |  |
| AEC density control function - Annually |  |  |  |
| Star pattern focal spot size - Annually |  |  |  |
| Uniformity of screen speed - Annually |  |  |  |
| Assembly physical evaluation - Annually |  |  |  |
| Phantom images (4 fibrils, 3 masses, and 3 speck groups) |  |  |  |
| Signature of physicist | Date (month, day, year) |
| Printed name of physicist | Physicist number |