|  | INTRAORAL DENTAL MACHINE INSPECTION State Form 45713 (R2 / 5-12) INDIANA STATE DEPARTMENT OF HEALTH MEDICAL RADIOLOGY SERVICES |
| --- | --- |
| Facility registration number | Name of facility |
| Date of inspection (month, day, year) | Date of last inspection (month, day, year) | Machine identification (check one) Certified Non-certified Mixed |
| Check to add this machine | Check to delete this machine | Name of new owner (if applicable) |
| Machine number | Machine design (use codes) | Location within facility | Manufacturer |
| Model number | Serial number | Means of beam collimation (check one) Adjustable Cone Diaphragm Other None |
| Maximum machine rating (kVp) | Maximum machine rating (mA/mAs) | Utilization mode F M P |
| Date of manufacture (month, year) | Date of installation (month, year) |
| Exposure switch arrangement In room Out of room On wall plate or control On cord | If on cord, length of cord (feet) | Exposure switch in shielded area? Yes No |
| Explain all Unsatisfactory or Not Applicable answers on SF 47602, Comment Page. | Satisfactory | Unsatisfactory | Not Applicable |
| Exposure at operator’s position |  |  |  |
| Technique chart |  |  |  |
| Warning label |  |  |  |
| Technique factors indicated before exposure |  |  |  |
| Indication of x-ray production – visual at operator position |  |  |  |
| Indication of x-ray termination - audible |  |  |  |
| Exposure terminated at preset time, mAs, exposure, pulses |  |  |  |
| Exposure at zero time |  |  |  |
| Exposure when “off” |  |  |  |
| Terminate exposure greater than ½ second at any time |  |  |  |
| Multiple tube indication on control panel |  |  |  |
| Multiple tube indication on tube housing |  |  |  |
| Minimum SSD vs. cone radiation field |  |  |  |
| Reproducibility - exposure |  |  |  |
| Reproducibility - timer |  |  |  |
| Half-value layer |  |  |  |
| FOR CERTIFIED UNITS ONLY |  |  |  |
| Timer reset to initial setting or “zero” at end of exposure |  |  |  |
| Linearity |  |  |  |
| Signature of physicist | Date (month, day, year) |
| Printed name of physicist | Physicist / inspector number |