|  | CHIROPRACTIC MACHINE INSPECTION State Form 45717 (R2 / 5-12) INDIANA STATE DEPARTMENT OF HEALTH MEDICAL RADIOLOGY SERVICES |
| --- | --- |
| Facility registration number | Name of facility |
| Date of inspection (month, day, year) | Date of last inspection (month, day, year) | Machine identification (check one) Certified Non-certified Mixed |
| Check to add this machine | Check to delete this machine | Name of new owner (if applicable) |
| Machine number | Machine design (use codes) | Location within facility | Manufacturer |
| Model number | Serial number | Means of beam collimation (check one) Adjustable Cone Diaphragm Other None |
| Maximum machine rating (kVp) | Maximum machine rating (mA/mAs) | Utilization mode F M P |
| Date of manufacture (month, year) | Date of installation (month, year) | Exposure switch arrangement in shielded area? Yes No |
| Explain all Unsatisfactory or Not Applicable answers on SF 47602, Comment Page. | Satisfactory | Unsatisfactory | Not Applicable |
| Exposure at operator’s position |  |  |  |
| Technique chart |  |  |  |
| Warning label |  |  |  |
| Technique factors indicated before exposure |  |  |  |
| Tube housing assembly stable during exposure |  |  |  |
| Indication of x-ray production - visual at operator position |  |  |  |
| Indication of x-ray termination - audible |  |  |  |
| Exposure terminated at preset time, mAs, exposure, pulses |  |  |  |
| Exposure at zero time |  |  |  |
| Exposure when “off” |  |  |  |
| Half-value layer |  |  |  |
| Beam Axis perpendicular to image receptor plane |  |  |  |
| Measured SID within 2% of indicated SID |  |  |  |
| Light illuminance intensity |  |  |  |
| Phototime mode provided |  |  |  |
| Phototime mode indicated on control panel when selected |  |  |  |
| Reproducibility – exposure |  |  |  |
| Reproducibility - timer |  |  |  |
| % misalignment of light vs. radiation field |  |  |  |
| % misalignment of indicated vs. actual field size |  |  |  |
| X-ray field / image receptor centers alignment |  |  |  |
| Multiple tube indication on control panel |  |  |  |
| Multiple tube indication on tube housing |  |  |  |
| Terminate exposure greater than ½ second at any time |  |  |  |
| FOR CERTIFIED UNITS ONLY |  |  |  |
| Linearity |  |  |  |
| Interlocks operate at one or two SID’s |  |  |  |
| PBL available |  |  |  |
| PBL operational |  |  |  |
| % misalignment of x-ray field vs. image receptor |  |  |  |
| Timer resets to “zero” or initial setting at end of exposure |  |  |  |
| Signature of physicist / inspector | Date (month, day, year) |
| Printed name of physicist / inspector | Physicist / inspector number |