FLUOROSCOPIC AND C-ARM MACHINE INSPECTION

State Form 28280 (R4 / 5-12)

INDIANA STATE DEPARTMENT OF HEALTH

MEDICAL RADIOLOGY SERVICES

| Facility registration number |  | Name of facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date of inspection (month, day, year) | Date of last inspection (month, day, year) |  |  | Machine identification (check one) Certified Non-certified Mixed |  |  |  |
| Check to add this machine | Check to delete this machine |  |  | Name of new owner (if applicable) |  |  |  |
| Machine number | Machine design (use codes) |  |  | Location within facility |  | Manufacturer |  |
| Model number | Serial number |  |  | Means of beam collimation (check one) Adjustable Cone Diaphragm Other None |  |  |  |
| Maximum machine rating (kVp) |  |  | Maximum machine rating (mA/mAs) |  | Utilization mode F M P |  |  |
| Date of manufacture (month, year) |  |  |  | Date of installation (month, year) |  |  |  |
| Type of operator shielding Lead drape Table lift shield Bucky slot shield None |  |  |  | Type of fluoroscopic technique factor control Manual Automatic Both |  |  | Image intensified Yes No |

| Explain all Unsatisfactory or Not Applicable answers on SF 47602, Comment Page. | Satisfactory | Unsatisfactory | Not Applicable |
| --- | --- | --- | --- |
| Primary barrier transmission |  |  |  |
| Exposure possible without primary barrier in place |  |  |  |
| mA and kV continuously indicated during exposure |  |  |  |
| Technique guide |  |  |  |
| Warning label |  |  |  |
| Minimum SSD |  |  |  |
| Entrance exposure rates posted in a visible location |  |  |  |
| Image vs. x-ray field alignment |  |  |  |
| Timer - five (5) minute maximum |  |  |  |
| Timer - audible alarm or x-ray cutoff |  |  |  |
| Half-value layer |  |  |  |
| Indication of beam axis perpendicular to image receptor plane |  |  |  |
| Entrance exposure rate does not exceed maximum limits |  |  |  |
| Exposure terminated at any time |  |  |  |
| HIGH-LEVEL CONTROL |  |  |  |
| High level audible signal when activated |  |  |  |
| High level control switch of the deadman type |  |  |  |
| SPOT FILM DEVICES (CERTIFIED UNITS ONLY) |  |  |  |
| Exposure terminated after preset time, mAs, or exposure |  |  |  |
| Technique factors indicated before exposure |  |  |  |
| Phototime mode |  |  |  |
| Reproducibility - exposure |  |  |  |
| Reproducibility - time |  |  |  |
| % misalignment |  |  |  |
| X-ray field / selected portion of film - centers alignment |  |  |  |
| Spot-film automatically adjusts to the correct portion of film |  |  |  |
| Manually adjustable smaller than selected portion of film |  |  |  |
| Indication of beam axis perpendicular to image receptor plane |  |  |  |

| Signature of physicist / inspector | Date (month, day, year) |
| --- | --- |
| Printed name of physicist / inspector | Physicist / inspector number |