VETERINARY MACHINE INSPECTION

State Form 45709 (R2 / 5-12)

INDIANA STATE DEPARTMENT OF HEALTH

MEDICAL RADIOLOGY SERVICES

NOTE: 	Veterinary units also must meet requirements of 410 lAC 5-6.1-120 (Fluoroscopic machines) and 410 lAC 5-6.1-124 (Therapeutic X-Ray 	machines operating at less than one MeV).

| Facility registration number |  | Name of facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date of inspection (month, day, year) | Date of last inspection (month, day, year) |  |  |  | Machine identification (check one) Certified Non-certified Mixed |  |  |
| Check to add this machine | Check to delete this machine |  |  |  | Name of new owner (if applicable) |  |  |
| Machine number | Machine design (use codes) |  |  |  | Location within facility |  | Manufacturer |
| Model number | Serial number |  |  |  | Means of beam collimation (check one) Adjustable Cone Diaphragm Other None |  |  |
| Maximum machine rating (kVp) |  |  | Maximum machine rating (mA/mAs) |  |  | Utilization mode F M P |  |
| Date of manufacture (month, year) |  |  | Date of installation (month, year) |  |  | Date of installation (month, year) |  |
| Exposure switch arrangement on cord? Yes No |  |  |  | If yes, length of cord (feet) |  |  |  |

| Explain all Unsatisfactory or Not Applicable answers on SF 47602, Comment Page. | Satisfactory | Unsatisfactory | Not Applicable |
| --- | --- | --- | --- |
| Exposure at operator's position |  |  |  |
| Protective shielding available for personnel used to hold animals |  |  |  |
| Technique chart |  |  |  |
| Exposure terminated at preset time, mAs, exposure, pulses |  |  |  |
| Exposure at zero time |  |  |  |
| Exposure when “off” |  |  |  |
| Total filtration permanently in useful beam |  |  |  |
| X-ray aligned to area of clinical interest |  |  |  |
| Tube housing of diagnostic type |  |  |  |
| Dead man switch |  |  |  |

| Signature of physicist / inspector | Date (month, day, year) |
| --- | --- |
| Printed name of physicist / inspector | Physicist / inspector number |