|  | ANNUAL CALIBRATION SUMMARY State Form 46889 (R2 / 5-12) INDIANA STATE DEPARTMENT OF HEALTH MEDICAL RADIOLOGY SERVICES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility registration number |  |  |  | Name of facility |  |  |  |  |  |  |  |  |  |  |
| Date of inspection (month, day, year) |  | Date of last inspection (month, day, year) |  |  |  | Check to add this machine |  |  |  |  |  |  | Check to delete this machine |  |
| Name of new owner (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Machine number |  | Machine design (use codes) |  |  |  | Location |  |  |  |  |  | Manufacturer (use codes) |  |  |
| Date of manufacture (month, year) |  | Model number |  |  |  |  |  | Serial number |  |  |  |  |  |  |
| QUALITY MANAGEMENT PROGRAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Submit the following departmental quality assurance documents if changes have been made to the documents submitted with the Initial Commissioning Survey: - Treatment planning computer and dose calculated algorithm QA procedures - Patient chart review policy and procedures - Weekly output constancy check policy and procedure - Monthly output spot check procedure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DOSIMETRY SYSTEM AT FACILITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacture of cylindrical chamber |  |  | Model of cylindrical chamber |  |  |  |  |  |  | Date of ADCL calibration (month, day, year) |  |  |  |  |
| Manufacture of parallel plate chamber |  |  | Model of parallel plate chamber |  |  |  |  |  |  | Date of N gas derivation (month, day, year) |  |  |  |  |
| Manufacture of electrometer |  |  | Model of electrometer |  |  |  |  |  |  | Date of ADCL calibration (month, day, year) |  |  |  |  |
| Date of aneroid barometer intercomparison (month, day, year) |  |  |  |  | Date of annual calibration completed (month, day, year) |  |  |  |  |  |  |  |  |  |
| Calibration protocol |  |  |  |  | Frequency of constancy check performed on dosimetry system |  |  |  |  |  |  |  |  |  |
| MECHANICAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Satisfactory |  | Unsatisfactory |  |  |  | Tolerance * |  |  |  |
| Gantry Rotation Isocenter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Collimator Rotation Isocenter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table (Couch) Rotation Isocenter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Field Size Readouts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gantry Angle Readouts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Collimator Angle Indicator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Optical Distance Indicator (ODI) Accuracy and Linearity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Light / Radiation Field Congruency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Laser Alignment System Accuracy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Off Switches |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| Door Interlock |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| Dosimetry Interlocks ** |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| Safety Interlocks *** |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| Audio Communications System |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| Visual Monitor System |  |  |  |  | Operational? |  |  |  | Yes |  |  |  |  | No |
| * The qualified radiation oncology physicist shall specify tolerance values based upon accelerator manufacture specifications and the most recent published standards. Corrective action is required for measured data that exceeds the stated tolerance. ** Energy (bending magnet current), flatness, symmetry, temperature and compensation, et cetera. *** Target slide or scattering foil, dose chamber slide, dose rate, et cetera. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| *The qualified radiation oncology physicist shall specify tolerance values based upon accelerator manufacture specifications and the most recent published standards. Corrective action is required for measured data that exceeds the stated tolerance. PHOTON BEAM PARAMETERS. Tolerance *. Nominal Energy (MV). Ionization Ratio. Flatness; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Symmetry; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Field Size Factors; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. PDD / TPR Values; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output / MU Reproducibility; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Monitor Chamber Linearity; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Wedge / Compensator Transmission Factors; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Tray / Custom Block Transmission Factors; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Open Field Isodose Lines (central axis); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Wedge Isodose Lines (central axis); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Independent Output Check (Date ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output Calibration; Yes No; Yes No; Yes No; Performed. Constancy Check Device Calibration; Yes No; Yes No; Yes No; Performed. ELECTRON BEAM PARAMETERS. Tolerance *. Nominal Energy (MeV). Mean Incident Energy. Flatness (Cone Size ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Symmetry; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output / MU Reproducibility; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Independent Output Check (Date ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output Calibration; Yes No; Yes No; Yes No; Performed. Constancy Check Device Calibration; Yes No; Yes No; Yes No; Performed. ELECTRON BEAM PARAMETERS. Tolerance *. Nominal Energy (MeV). Mean Incident Energy. Flatness (Cone Size ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Symmetry; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output / MU Reproducibility; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Independent Output Check (Date ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output Calibration; Yes No; Yes No; Yes No; Performed. Constancy Check Device Calibration; Yes No; Yes No; Yes No; Performed. ELECTRON BEAM PARAMETERS. Tolerance *. Nominal Energy (MeV). Mean Incident Energy. Flatness (Cone Size ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Symmetry; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output / MU Reproducibility; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Independent Output Check (Date ); Satisfactory Unsatisfactory; Satisfactory Unsatisfactory; Satisfactory Unsatisfactory. Output Calibration; Yes No; Yes No; Yes No; Performed. Constancy Check Device Calibration; Yes No; Yes No; Yes No; Performed. Signature of physicist; Date (month, day, year). Printed name of physicist; Physicist number. |