|  | LEVEL 1 ASSESSMENT – NON-TRANSIENT NON-COMMUNITY (NTNC) OR COMMUNITY PUBLIC WATER SYSTEM (PWS) State Form 52998 (R2 / 6-22) Indiana Department of Environmental Management Office of Water Quality – Drinking Water Branch |  |
| --- | --- | --- |
| PWSID Number: | SYSTEM NAME: |
| Section A - Review and evaluate: Check for any potential causes of contamination identified or check “N/A” if the section is not applicable to your system. Each section requires a response. |
| 1. SAMPLING SITES | Issue identified: YES NO |
| unclean or unsuitable tap change or damage to sampling location low disinfection residual (if applicable) | unapproved sampling location other: |
| 2. SAMPLING PROTOCOL | Issue identified: YES NO |
| tap wasn’t flushed (prior to sampling) tap wasn’t disinfected (prior to sampling) aerator or screen damaged or corroded improper hold time / storage temperature | old sample bottle / bottle seal broken new person collected water sample sample error (e.g. touched inside of cap/bottle) other: |
| 3. OPERATIONAL CHANGES | Issue identified: YES NO |
| water quality parameters out of range new sample tap installed new treatment device added source added / abandoned | visible indicators of unsanitary conditions recent repairs to distribution system loss of power other: |
| 4. DISTRIBUTION SYSTEM | Issue identified: YES NO |
| low flow / dead end main low disinfection residual (if applicable) main breaks low pressure (less than 20 psi) water leaks installation of new mains/construction | cross connection* issue(s) illegal use of hydrants flushing of fire hydrants or blow-offs loss of water pressure booster pump failure other: |
| 5. TREATMENT (if applicable) | Issue identified: YES NO N/A |
| treatment device malfunctioning treatment added or changed cross connection* issue(s) inadequate disinfection interruption in treatment / power loss chemical feed rate problems | filter or media contamination chemical day tanks empty / inadequately sealed maintenance schedules not followed evidence of contamination turbidity measurements out of range other: |
| * A cross connection is any actual or potential connection between a potable water supply and a non-potable source (e.g. water softener waste line plumbed directly to floor drain with no air gap). |

| 6. STORAGE / BLADDER TANK(S) Issue identified: YES NO |
| --- |
| tank(s) is damaged, rusty, or has holes tank bladder(s) is water logged hydropneumatic tank malfunctioning vent / overflow screen missing or damaged signs of vandalism / unauthorized access recent work or repair of tank | evidence of contamination standing water / debris around tank access hatch not sealed water age / inadequate turnover lack of maintenance, cleaning, or inspection other: |
| 7a. SOURCE – WELL(S) (if applicable) Issue identified: YES NO N/A |
| cracked, broken, or missing well cap cracked or damaged well casing well vent screen missing or damaged missing or damaged grout seal recent work on pump well pump cycling properly unprotected opening in pump assembly | evidence of contamination flooding or standing water near well standing water / flooding in well pit ground slopes toward well casing air relief valve missing screen and / or air gap well head is buried or has space around casing other: |
| 7b. SOURCE – SURFACE WATER (if applicable) | Issue identified: YES NO N/A |
| increased raw water turbidity readings temperature changes rain events | intake structure damage raw water indicates potential for contamination other: |
| Section B - Issue Description: Use this space to provide additional information on potential causes of contamination identified during the assessment. If possible, include corresponding dates with your findings. Attach additional pages as necessary. |
| Check if you did not find any causes for the contamination. |

Section C - Corrective Action Taken or to be Taken: Use this space to describe corrective actions completed, a proposed timetable for any corrective actions not already completed, and any interim measures that you plan to implement. Attach additional pages as necessary.

Check if you did not find any causes for the contamination.

Certification: I certify, under penalty of law, that this document was prepared by me, and the information submitted is to the best of my knowledge and belief, true, accurate and complete. I am also aware that there are significant penalties for submitting false information.

Print Name: License Number (if applicable):_______________ Signature: __________________________________ Date (month, day, year): ____________________ Email: __________________________________ Telephone: __________________________ Please save a copy and return this form to the Indiana Department of Environmental Management.

IDEM Use Only: IDEM Reviewer:  ________________________

Level 1 Assessment Accepted:   YES     NO

PWS has corrected the problem:   YES     NO

Corrective Action Plan approved:   YES     NO

Approved with changes:   YES     NO

Comments: __________________________________________

____________________________________________________

____________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

# Text boxes

Mail, email, or fax this form and any supporting documents to the

Drinking Water Branch of:
Indiana Department of Environmental Management
100 N Senate Ave IGCN 1201 
Indianapolis, IN 46204
E-mail: DWBMGR@idem.in.gov   
Fax: 317-234-7462