|  | LEVEL 2 ASSESSMENT – NTNC OR COMMUNITY PUBLIC WATER SYSTEM State Form 55981 (R2 / 4-23) INDIANA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT OFFICE OF WATER QUALITY – DRINKING WATER BRANCH |  |  |
| --- | --- | --- | --- |
| INSTRUCTIONS: A Certified Level 2 Assessor or agent of the State must complete this form. The goal of this assessment is to resolve this system’s total coliform contamination. The assessor will provide a determination of the cause of this total coliform contamination by checking “Yes” on the appropriate checkboxes below. With each issue checked “Yes”, the assessor will follow with a narrative in the “Issue Description” AND “Corrective Action” columns. If any question or section does not apply, simply strike through or mark as N/A. The system representative listed below is responsible for implementing the corrective actions identified within thirty (30) days of this assessment and will provide documentation (photos or receipts) of the corrective actions to IDEM at CapCert@idem.in.gov. |  |  |  |
| PWSID NUMBER: |  | SYSTEM NAME: |  |
| SOURCE WATER (Check all that apply): |  |  | Ground Surface Purchase from: |
| CERTIFIED OPERATOR or OWNER: |  |  |  |
| LICENSE TYPE and NUMBER (if applicable): |  |  |  |
| Review and evaluate. Review every item in each section and note any issues and corrective actions taken. Each item requires a response. If any question or section does not apply, simply strike through or mark as N/A. |  |  |  |

| 1. SAMPLING SITES | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| --- | --- | --- | --- |
| Unclean or unsuitable tap | Yes No |  |  |
| Change or damage to sampling location | Yes No |  |  |
| Low / inadequate disinfection residual | Yes No |  |  |
| Plumbing changes or additions | Yes No |  |  |
| Plumbing breaks or failure | Yes No |  |  |
| Cross connection w / premise plumbing | Yes No |  |  |
| Untested backflow device(s) | Yes No |  |  |
| Unapproved sampling location | Yes No |  |  |
| Unmaintained treatment device(s) | Yes No |  |  |
| Other: | Yes No |  |  |
| 2. SAMPLING PROTOCOL | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Tap wasn’t flushed (prior to sampling) | Yes No |  |  |
| Tap wasn’t disinfected (prior to sampling) | Yes No |  |  |
| Aerator or screen damaged or corroded | Yes No |  |  |
| Old sample bottle / bottle seal broken | Yes No |  |  |
| New person collected water sample | Yes No |  |  |
| Sampling error | Yes No |  |  |
| Improper hold time / storage temperature | Yes No |  |  |
| Other: | Yes No |  |  |
| 3. OPERATIONAL CHANGES | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Water quality parameters out of range | Yes No |  |  |
| New sample tap installed | Yes No |  |  |
| New treatment device added | Yes No |  |  |
| Source added / abandoned | Yes No |  |  |
| New storage tank added | Yes No |  |  |
| New high service or booster pump installed | Yes No |  |  |
| Visible indicators of unsanitary conditions | Yes No |  |  |
| 3. OPERATIONAL CHANGES (continued) | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Recent repairs to distribution system | Yes No |  |  |
| Loss of power | Yes No |  |  |
| Other: | Yes No |  |  |
| 4. DISTRIBUTION SYSTEM | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Low flow / dead end main | Yes No |  |  |
| Low disinfection residuals | Yes No |  |  |
| Main breaks | Yes No |  |  |
| Loss of pressure or low pressure (less than 20 psi) | Yes No |  |  |
| Water leaks | Yes No |  |  |
| Installation of new mains / construction | Yes No |  |  |
| Cross connection issue(s) | Yes No |  |  |
| Illegal use of hydrants | Yes No |  |  |
| Flushing of fire hydrants or blow-offs | Yes No |  |  |
| Evidence of vandalism | Yes No |  |  |
| Booster pump failure | Yes No |  |  |
| Other: | Yes No |  |  |
| 5. TREATMENT N/A | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Treatment device malfunctioning | Yes No |  |  |
| Treatment added or changed | Yes No |  |  |
| Cross connection issue(s) | Yes No |  |  |
| Inadequate disinfection | Yes No |  |  |
| Interruption in treatment/power loss | Yes No |  |  |
| Chemical feed rate problems | Yes No |  |  |
| Filter or media contamination | Yes No |  |  |
| Chemical day tanks empty / inadequately sealed | Yes No |  |  |
| Maintenance schedules not followed | Yes No |  |  |
| Evidence of contamination | Yes No |  |  |
| Turbidity measurements out of range | Yes No |  |  |
| Change in raw water quality | Yes No |  |  |
| Evidence of short circuiting in treatment process | Yes No |  |  |
| Flow rate above rated capacity | Yes No |  |  |
| Failure to meet Contact Time calculations | Yes No |  |  |
| Other: | Yes No |  |  |
| 6. STORAGE TANK N/A | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Tank(s) is damaged, rusty, or has holes | Yes No |  |  |
| Tank bladder(s) is water logged | Yes No |  |  |
| Hydropneumatic tank malfunctioning | Yes No |  |  |
| Vent/overflow screen damaged/missing | Yes No |  |  |
| Signs of vandalism / unauthorized access | Yes No |  |  |
| Recent work or repair of tank | Yes No |  |  |
| Evidence of contamination | Yes No |  |  |
| Standing water / debris around tank | Yes No |  |  |
| Access hatch not sealed | Yes No |  |  |
| Water age / inadequate turnover | Yes No |  |  |
| Lack of maintenance or inspection | Yes No |  |  |
| Other: | Yes No |  |  |
| 7. SOURCE – WELL(S) N/A | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Cracked, broken, or missing well cap | Yes No |  |  |
| Cracked or damaged well casing | Yes No |  |  |
| Well screen missing or damaged | Yes No |  |  |
| Missing or damaged grout seal | Yes No |  |  |
| 7. SOURCE – WELL(S) N/A (continued) | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Recent work on pump | Yes No |  |  |
| Well pump cycling improperly | Yes No |  |  |
| Unprotected opening in pump assembly | Yes No |  |  |
| Evidence of contamination | Yes No |  |  |
| Flooding or standing water near well | Yes No |  |  |
| Standing water / flooding in well pit | Yes No |  |  |
| Ground slopes toward well casing | Yes No |  |  |
| Air relief valve missing screen and / or air gap | Yes No |  |  |
| Other: | Yes No |  |  |
| 8. SOURCE – SURFACE N/A | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Source water spill, sewer spill, or other disturbance | Yes No |  |  |
| Algal bloom | Yes No |  |  |
| Source water turnover | Yes No |  |  |
| Heavy rainfall | Yes No |  |  |
| Rapid snowmelt or flooding | Yes No |  |  |
| Damage to intake structure | Yes No |  |  |
| 8. SOURCE – SURFACE N/A (continued) | Issue(s) Found? | Issue Description | Corrective Actions you are required to take and expected completion date |
| Change in available source (drop in water table or reservoir capacity) | Yes No |  |  |
| Other: | Yes No |  |  |

Failure to submit the required information will result in a Treatment Technique violation and may result in a referral to IDEM’s Enforcement.

Please save a copy of this form and return the original form along with a copy of your training information (including, but not limited to, an Indiana Water Basics Course (INWBC) certificate of completion) to the Indiana Department of Environmental Management. It is important to provide the system representative with a copy of this document. The drinking water system is responsible for completion of all corrective action(s) identified within thirty (30) days of this assessment.

Certification: I certify, under penalty of law, that this document was prepared by me or under my direction, and the information submitted is to the best of my knowledge and belief, true, accurate and complete. I am also aware that there are significant penalties for submitting false information.

Signature: ___________________________________________________________ Date (month, day, year): _____________________________ Printed Name_____________________________________________________ Title: _________________________________________________ PWSID Number where you are currently employed: ___________________ License Number(s): _________________________________________ E-mail Address: _______________________________ Telephone Number: _______________________________________________________ Please save a copy and return this form to the Indiana Department of Environmental Management.

Mail or email this form and any supporting documents to the Drinking Water Branch of
Indiana Department of Environmental Management
100 N Senate Ave IGCN 1201 
Indianapolis, IN 46204
E-mail: CapCert@idem.in.gov

IDEM Use Only:

IDEM Reviewer:  _________________________________

IDEM Consultation Date (if needed):__________________

Level 2 Assessment Accepted:  YES   NO

PWS has corrected the problem:  YES   NO

Corrective Action Plan approved:  YES   NO

Approved with changes:  YES   NO

Comments: ______________________________________________________________________________________________________________

________________________________________________________________________________________________________________________

________________________________________________________________________________________________________________________