|  | LEVEL 2 ASSESSMENT – TRANSIENT PUBLIC WATER SYSTEM State Form 55983 (R6 / 4-23) INDIANA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT OFFICE OF WATER QUALITY – DRINKING WATER BRANCH | Mail or e-mail this form and supporting documents to: INDIANA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT DRINKING WATER BRANCH 100 North Senate Avenue, Room N1201 Indianapolis, IN 46204 E-mail: CapCert@idem.in.gov |
| --- | --- | --- |

INSTRUCTIONS:  A Certified Level 2 Assessors or agent of the State must complete this form. The goal of this assessment is to resolve this system’s total coliform contamination.

The assessor will provide a determination of the cause of this total coliform contamination by checking “Yes” on the appropriate checkboxes below. With each issue checked “Yes”,

the assessor will follow with a narrative in the “Issue Description” AND “Corrective Action” columns. If any question or section does not apply, simply strike through or mark as N/A.

The system representative listed below is responsible for implementing the corrective actions identified within thirty (30) days of this assessment and will provide documentation (photos or receipts) of the corrective actions to IDEM at CapCert@idem.in.gov.

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |
| Name of system representative | How representative is affiliated with the system |

| 1. SAMPLING SITES | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| Unclean, leaking, damaged or unsuitable tap | Yes No |  |  |
| Changed sampling location | Yes No |  |  |
| Unapproved or unsuitable sampling location | Yes No |  |  |
| Low / inadequate disinfection residual | Yes No |  |  |
| Plumbing changes or additions | Yes No |  |  |
| Plumbing breaks or failure | Yes No |  |  |
| Cross connection adjacent sampling site (such as, but not limited to, reverse osmosis unit) | Yes No |  |  |
| Untested backflow device(s) adjacent sample site | Yes No |  |  |
| Other: | Yes No |  |  |

| 2. SAMPLING PROTOCOL | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| Tap wasn’t flushed (prior to sampling) | Yes No |  |  |
| Tap wasn’t disinfected (prior to sampling) | Yes No |  |  |
| Aerator or screen damaged or corroded | Yes No |  |  |

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |

| 2. SAMPLING PROTOCOL (continued) | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| Old sample bottle | Yes No |  |  |
| Bottle seal broken | Yes No |  |  |
| New person collected water sample | Yes No |  |  |
| Sampling error | Yes No |  |  |
| Improper hold time | Yes No |  |  |
| Improper storage temperature | Yes No |  |  |
| Other: | Yes No |  |  |

| 3. OPERATIONAL CHANGES | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| New sample tap installed | Yes No |  |  |
| New treatment device added | Yes No |  |  |
| Source added | Yes No |  |  |
| Source abandoned | Yes No |  |  |
| New storage tank added | Yes No |  |  |
| Visible indicators of unsanitary conditions | Yes No |  |  |
| Recent repairs to water lines | Yes No |  |  |
| Water system was NOT disinfected / flushed following plumbing construction or repairs | Yes No |  |  |
| Loss of power | Yes No |  |  |
| Other: | Yes No |  |  |

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |

| 4. DISTRIBUTION SYSTEM | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| Low flow / dead end main | Yes No |  |  |
| Low disinfection residuals (if applicable) review systems records, sample (if needed) | Yes No |  |  |
| Water line breaks | Yes No |  |  |
| Loss of pressure or low pressure (less than 20 psi) | Yes No |  |  |
| Water leaks | Yes No |  |  |
| Construction or installation of plumbing | Yes No |  |  |
| Cross connection issue(s) including but not limited to softener waste lines, irrigation, boiler make-up, baptismal, fire suppression, mop sinks, manufacturing process systems | Yes No |  |  |
| Untested backflow device(s) | Yes No |  |  |
| Inadequate flushing of water lines due to inactivity or closure of the facility | Yes No |  |  |
| Evidence of vandalism | Yes No |  |  |
| Other: | Yes No |  |  |

| 5. TREATMENT | N/A | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- | --- |
| Treatment device malfunctioning |  | Yes No |  |  |
| Treatment added or changed |  | Yes No |  |  |
| Cross connection issue(s) |  | Yes No |  |  |
| Inadequate disinfection |  | Yes No |  |  |
| Interruption in treatment / power loss |  | Yes No |  |  |
| Chemical feed rate problems |  | Yes No |  |  |
| Filter contamination |  | Yes No |  |  |

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |

| 5. TREATMENT (continued) | N/A | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- | --- |
| Maintenance schedules not followed |  | Yes No |  |  |
| Chemical day tanks empty / inadequately sealed (e.g. softener out of salt) |  | Yes No |  |  |
| Evidence of short circuiting in treatment process |  | Yes No |  |  |
| Evidence of contamination |  | Yes No |  |  |
| Other: |  | Yes No |  |  |

| 6. STORAGE TANK | N/A | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- | --- |
| Tank(s) is damaged, rusty, or has holes |  | Yes No |  |  |
| Tank bladder(s) is waterlogged |  | Yes No |  |  |
| Hydropneumatic tank malfunctioning |  | Yes No |  |  |
| Vent / overflow screen damaged / missing |  | Yes No |  |  |
| Signs of vandalism / unauthorized access |  | Yes No |  |  |
| Recent work or repair of tank |  | Yes No |  |  |
| Evidence of contamination |  | Yes No |  |  |
| Standing water around tank |  | Yes No |  |  |
| Debris around tank |  | Yes No |  |  |
| Water age / inadequate turnover |  | Yes No |  |  |
| Lack of maintenance or inspection |  | Yes No |  |  |
| Other: |  | Yes No |  |  |

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |

| 7. SOURCE - WELLS | Issue(s) Found? | Description of Issue | Corrective Action(s) you are required to make and expected completion date |
| --- | --- | --- | --- |
| Cracked, broken, or missing well cap | Yes No |  |  |
| Cracked or damaged well casing | Yes No |  |  |
| If well casing is cracked, is the protective barrier missing? | Yes No |  |  |
| Well screen missing or damaged | Yes No |  |  |
| Missing or damaged grout seal (voids around well allowing contaminates into well) | Yes No |  |  |
| Recent work on pump | Yes No |  |  |
| Well pump cycling improperly | Yes No |  |  |
| Pump assembly leaking / damaged (jet pump or vertical turbine only) | Yes No |  |  |
| Evidence of contamination | Yes No |  |  |
| Flooding or standing water near well | Yes No |  |  |
| Standing water / flooding in well pit | Yes No |  |  |
| Ground slopes toward well casing | Yes No |  |  |
| Air relief valve missing screen and / or air gap | Yes No |  |  |
| Other: | Yes No |  |  |

Failure to submit the required information will result in a Treatment Technique violation and may result in a referral to IDEM’s Enforcement.

| CERTIFICATION |  |  |
| --- | --- | --- |
| I certify, under penalty of law, that I am a Certified Level 2 Assessor, and that this document was prepared by me or under my direction, and the information submitted is to the best of my knowledge and belief, true, accurate and complete. I am also aware that there are significant penalties for submitting false information. |  |  |
| Signature |  | Date (month, day, year) |
| Printed name | Title | License number(s) (if applicable) |
| Telephone number ( ) | E-mail address |  |

Please save a copy of this form and return the original form along with a copy of your training information (including, but not limited to, an Indiana Water Basics Course (INWBC) certificate of completion) to the Indiana Department of Environmental Management. It is important to provide the system representative with a copy of this document. The drinking water system is responsible for completion of all corrective action(s) identified within thirty (30) days of this assessment.

| Public Water System Identification (PWSID) number | Name of system |
| --- | --- |

| FOR IDEM USE ONLY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of IDEM reviewer |  |  |  | Date of IDEM consultation (if needed) (month, day, year) |  |
| Document preparer completed INWBC Yes No | Level 2 Assessment accepted Yes No | PWS has corrected the problem Yes No | Corrective Action Plan approved Yes No |  | Approved with changes Yes No |
| Comments |  |  |  |  |  |