## instructions
INSTRUCTIONS FOR MONTHLY MONITORING REPORT (MMR) FOR WET WEATHER TREATMENT FACILITES, State Form 56109
The information on page 1 should be entered first. Some of the information entered on Page 1 will carry over to Pages 2 through 4 of the form so this information does not need to be reentered. Examples include facility name, permit number, date, etc.
When the month and year are entered into Row 13 of Page 1 of the form, the day of the month automatically populates in Columns E and F. The day of the month will automatically calculate on the other pages of the form.
If there is no discharge for the month, place an "X" in the box next to the "No Discharge" field on Page 1.
Enter results as reported by laboratory analysis. The form may display a limited number of decimal places depending on the cell format.
If only one pH sample is taken per day, enter the value in the Low column. If more than one sample is taken on a given day, the values shall not be averaged for reporting daily maximums or daily minimums. The permittee must report the minimum and maximum pH value of all samples on the form.
If chlorine is used for disinfection, the permittee must manually insert Total Residual Chlorine (TRC) limitations into Page 1 of the form. Such limitations are found within Table 2 of Attachment A of the NPDES permit. If chlorine is not used to disinfect wet weather treatment flow, the TRC column will remain blank. For values less than the detection limit, a "<" sign can be entered in the column to the left of the value.
OLD E.COLI INSTRUCTIONS
For E. coli, the permittee shall report the geometric mean of all grab samples taken for the month, provided that 3 or more grab samples are collected. If less than 3 grab samples are taken then the arithmetic mean shall be reported. The spreadsheet will calculate this automatically. For values less than the detection limit, a "<" sign can be entered in the column to the left of the value.
NEW E.COLI INSTRUCTIONS
For E. coli, the permittee shall report the geometric mean of all grab samples taken for the month. If only one sample per day has been collected, the spreadsheet will calculate this automatically. If there is more than one sample collected on any day, manually calculate the geometric mean value for all samples collected and enter it into cell R60 on Page 1 . For values less than the detection limit, a "< " sign can be entered in the column to the left of the value.
If the wet weather treatment facility discharges directly into the Ohio River, Attachment A of the NPDES permit will contain Fecal Coliform limitations. If such limitations are in the Attachment A of the permit, reporting data shall be included on the form. If Fecal Coliform limits are not included in Attachment A of the permit, the Fecal Coliform column will remain blank.
If Attachment A of the NPDES permit contains a parameter not included on page 1 of the WWTF MMR Form (i.e. Ammonia-nitrogen, Phosphorus, or Dissolved Oxygen), please select the parameter from the drop down list on page 2, row 17. Manually enter the resulting data in the blank columns.
Wastewater Treatment Plant (WWTP) and precipitation data must be completed on Page 3 of this from. If the permittee uses State Form 50546 (R3/7-13) for reporting untreated CSO discharges, the data must be entered on the WWTF MMR form as well.
This form should be saved as a pdf document to be attached to the DMR submittal through NetDMR. To create a pdf document in Excel 2010, select: File -> Save as Adobe PDF. Then Add pages 1-4 to the "Sheets in PDF" window. Then select the button "Convert to PDF".
For NetDMR submittal instructions, see the IDEM NetDMR web page at:
http://in.gov/idem/cleanwater/2422.htm
An example of a completed WWTF MMR form can be found on the IDEM CSO webpage located at:
http://in.gov/idem/cleanwater/2455.htm
Page 1 of 2
INSTRUCTIONS FOR UPLOADING DATA TO NETDMR
The "NetDMR Data Upload" and "NetDMR No Discharge Upload" tabs are spreadsheets that can assist the permittee if desired to import the data to NetDMR. This spreadsheet will transfer all data entered for parameters on page 1 and and page 2 over to the appropriate upload tab. Do not make any edits directly on these two upload spreadsheets. All necessary data will automatically be loaded from other pages. Note: The data must be reviewed and possibly completed within the NetDMR system for final submission.
The "NetDMR No Discharge Upload" tab should only be used if there has been no reportable discharge through this outfall during the entire monitoring period.
The "NetDMR Data Upload" tab should be used any monitoring period where there has been at least one discharge.
To upload data from this spreadsheet to NetDMR, click on the appropriate tab either "NetDMR Data Upload" or "NetDMR No Discharge Upload".
1. Save the Excel file with all of the entered data and all of the worksheets.
2. Go to the top left hand corner of Excel and under the "File" menu, select "Save As".
3. On the "Save As" window;
a) Set the location to a place that you know
b) Set the File Name to one that you will recognize different than the name this was previously saved as. (Note: Do not use any spaces or special characters in the file name.)
c ) Set the "Save As Type:" field to "CSV (Comma delimited)".
d) Click the [Save] button near the bottom right corner
4. Excel will open a pop-up message that "The selected file type does not support workbooks with multiple worksheets." Click the [Ok] option
5. Excel will open a second pop-up message box that asks: "….Do you want to keep the workbook in this format?" Click the [Yes] option
6. Close the Excel file
a) Excel will present a pop-up message: "Do you want to Save the change that you made to…." Click the [Save] option
b) Excel will open a second pop-up message: "…. Do you want to keep the workbook in this format?" Click the [Yes] option
7. Log in to the NetDMR web site (Indiana DEM) at:
https://netdmr.epa.gov/netdmr/public/home.htm
8. Select "Perform Import" from the menu option under "Import DMRs"
9. Use the "Browse…" button to select your newly created CSV file
10. Click the [Submit Import File] button
11. The software will automatically move to the "Check Results" page. Your file should be listed as the top row in the Import File column. Wait for the Status column to change to either; Success, Completed with Errors, or Failed.
12. For files that finish with either Success or Completed with Errors, go to the All DMRs & CORs option under Search then review, complete and submit the DMR. For files that are marked as "Failed", click on the document icon in the "Log" column to see what the errors are. Then go back to either the Excel file or the CSV file and correct those problems then try importing again.
Page 2 of 2
| Loading | Reporting | ParameterList |  | LoadUnit
|  | ----- | Oxygen, dissolved [DO] |  | Lb
| Load/Conc | Report | Nitrogen, ammonia total [as N] |  | MG/L
| Loading |  | Phosphorus, total [as P] |  | C / 100 ML
| Conc |  |  |  | MGD
|  |  | 05 | 5
|  | Frequency | 31 |  | SampleType
2016
|  | ----- |  |  | -----
|  | Daily |  |  | Composite
Grab

## MMR-Page1
MONTHLY MONITORING REPORT (MMR) FOR WET WEATHER TREATMENT FACILTIES
State Form 56109 (R / 12-21)
|  | FACILITY NAME AND ADDRESS: | [8 empty] | Please complete one copy per month, per outfall.
When complete, save as a pdf document with
the following format for the MMR name:
INxxxxxxx_00#X_MMR_YYYY_MM.pdf
(i.e., IN0012345_002CP_MMR_2016_10.pdf)
before attaching to the corresponding netDMR.
E-mail address:
5
I | N | [9 empty] | CP |  | 0 | 5 | 1 | 6
PERMIT NUMBER | [7 empty] | OUTFALL NUMBER |  |  |  |  | MONTH |  | YEAR
[14 empty] | Chlorine disinfection - Year-round: | FALSE |  | No Discharge | FALSE |  | IN
[7 empty] | UV Disinfection: | FALSE | [5 empty] | E. coli monitoring - Year-round: | FALSE |  | This is a revised submittal | FALSE
EFFLUENT PARAMETER |  |  |  |  | FLOW | CBOD5 |  | TSS |  | pH |  | TRC |  | E. coli
LOADING OR CONCENTRATION |  |  |  |  | Loading | Conc |  | Conc |  | Conc |  | Conc |  | Conc
MONITORING SAMPLE TYPE |  |  |  |  | 24 Hr total | Composite |  | Composite |  | Grab |  | Grab |  | Grab
|  | Parameter Code |  |  | 50050 | 80082 |  | 00530 |  | 00400 |  | 50060 |  | 51041
MONITORING FREQUENCY |  |  |  |  | Daily | Daily |  | Daily |  | Daily |  | Daily |  | Daily
EFFLUENT |  | Daily Minimum |  |  | ----- | ----- |  | ----- |  | Report |  | ----- |  | -----
LIMITATIONS |  | Monthly Average |  |  | Report | Report |  | Report |  | ----- |  | Report |  | 125
|  | Daily Maximum |  |  | Report | Report |  | Report |  | Report |  | Report |  | 235
|  | Monitoring Loc Code |  |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | Season |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
05/1/16 | 35 |  | UNITS |  | MGD | MG/L |  | MG/L |  | HI | LOW | < | MG/L | < | C / 100 ML
|  |  | Sun | 1
|  |  | Mon | 2
|  |  | Tue | 3
|  |  | Wed | 4
|  |  | Thu | 5
|  |  | Fri | 6
|  |  | Sat | 7
|  |  | Sun | 8
|  |  | Mon | 9
|  |  | Tue | 10
|  |  | Wed | 11
|  |  | Thu | 12
|  |  | Fri | 13
|  |  | Sat | 14
|  |  | Sun | 15
|  |  | Mon | 16
|  |  | Tue | 17
|  |  | Wed | 18
|  |  | Thu | 19
|  |  | Fri | 20
|  |  | Sat | 21
|  |  | Sun | 22
|  |  | Mon | 23
|  |  | Tue | 24
|  |  | Wed | 25
|  |  | Thu | 26
|  |  | Fri | 27
|  |  | Sat | 28
|  |  | Sun | 29
|  |  | Mon | 30
|  |  | Tue | 31
MONTHLY AVERAGE (Geomean Ecoli) | [18 empty] | #DIV/0! | 0
HIGHEST VALUE
LOWEST VALUE
TOTAL FLOW |  |  |  |  | 0
[7 empty] | Prepared by or under the direction of (Certified Operator): | [8 empty] | Date (month, day, year)
I certify under penalty of law that this document and all attachments
were prepared under my direction or supervision in accordance with
a system designed to assure that qualified personnel properly | [6 empty] | Preparer's telephone number | [6 empty] | Operator's certification number
and evaluate the information submitted. Based on my inquiry of the
persons who manage the system, or those persons directly
responsible for gathering the information, the information submitted
is to the best of my knowledge and belief, true, accurate, and | [6 empty] | Signature of principal executive officer or authorized agent | [8 empty] | Date (month, day, year)
complete. I am aware that there are significant penalties for | [6 empty] | (or attested by NetDMR subscriber agreement)
submitting false information, including the possibility of fine and
imprisonment for knowing violations.
[7 empty] | Page 1 of |  | 4

## MMR-Page2
MONTHLY MONITORING REPORT (MMR) FOR WET WEATHER TREATMENT FACILTIES
State Form 56109 (R / 12-21)
|  |  | FACILITY NAME AND ADDRESS: | [9 empty] | Please complete one copy per month, per outfall.
When complete, save as a pdf document with
the following format for the MMR name:
INxxxxxxx_00#X_MMR_YYYY_MM.pdf
(i.e., IN0012345_002CP_MMR_2016_10.pdf)
before attaching to the corresponding netDMR.
E-mail address:
I | N | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | CP | 0 | 5 | 1 | 6
PERMIT NUMBER | [9 empty] | OUTFALL NUMBER |  |  |  | MONTH |  | YEAR
[17 empty] | No Discharge | No
[16 empty] | This is a revised submittal |  | No
EFFLUENT PARAMETER | [5 empty] | FLOW
LOADING OR CONCENTRATION | [5 empty] | Loading
MONITORING SAMPLE TYPE | [5 empty] | Daily
|  |  | Parameter Code |  |  | 50050
MONITORING FREQUENCY | [5 empty] | Daily
EFFLUENT |  |  | Daily Minimum |  |  | -----
LIMITATIONS |  |  | Monthly Average |  |  | Report
|  |  | Daily Maximum |  |  | Report
Monitoring Loc Code
|  |  | Season |  |  | 0
05/1/16 | 35 |  |  | UNITS |  | MGD
|  |  |  | Sun | 1
|  |  |  | Mon | 2
|  |  |  | Tue | 3
|  |  |  | Wed | 4
|  |  |  | Thu | 5
|  |  |  | Fri | 6
|  |  |  | Sat | 7
|  |  |  | Sun | 8
|  |  |  | Mon | 9
|  |  |  | Tue | 10
|  |  |  | Wed | 11
|  |  |  | Thu | 12
|  |  |  | Fri | 13
|  |  |  | Sat | 14
|  |  |  | Sun | 15
|  |  |  | Mon | 16
|  |  |  | Tue | 17
|  |  |  | Wed | 18
|  |  |  | Thu | 19
|  |  |  | Fri | 20
|  |  |  | Sat | 21
|  |  |  | Sun | 22
|  |  |  | Mon | 23
|  |  |  | Tue | 24
|  |  |  | Wed | 25
|  |  |  | Thu | 26
|  |  |  | Fri | 27
|  |  |  | Sat | 28
|  |  |  | Sun | 29
|  |  |  | Mon | 30
|  |  |  | Tue | 31
MONTHLY AVERAGE
HIGHEST VALUE
LOWEST VALUE
NO. OF TIMES WEEKLY, DAILY, MONTHLY
EFFL. LIMITATIONS EXCEEDED
TOTAL FLOW | [5 empty] | 0
[9 empty] | Prepared by or under the direction of (Certified Operator): | [7 empty] | Date (month, day, year)
I certify under penalty of law that this document and all attachments
were prepared under my direction or supervision in accordance with
a system designed to assure that qualified personnel properly | [8 empty] | Preparer's telephone number | [5 empty] | Operator's certification number
and evaluate the information submitted. Based on my inquiry of the
persons who manage the system, or those persons directly
responsible for gathering the information, the information submitted
is to the best of my knowledge and belief, true, accurate, and | [8 empty] | Signature of principal executive officer or authorized agent | [7 empty] | Date (month, day, year)
complete. I am aware that there are significant penalties for | [8 empty] | (or attested by NetDMR subscriber agreement)
submitting false information, including the possibility of fine and
imprisonment for knowing violations.
[9 empty] | Page 2 of |  | 4

## MMR-Page3
MONTHLY MONITORING REPORT (MMR) FOR WET WEATHER TREATMENT FACILTIES
State Form 56109 (R / 12-21)
|  |  | FACILITY NAME AND ADDRESS: | [9 empty] | Please complete one copy per month, per outfall.
When complete, save as a pdf document with
the following format for the MMR name:
INxxxxxxx_00#X_MMR_YYYY_MM.pdf
(i.e., IN0012345_002CP_MMR_2016_10.pdf)
before attaching to the corresponding netDMR.
E-mail address:
I | N | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | CP |  | 0 | 5 | 1 | 6
PERMIT NUMBER | [9 empty] | OUTFALL NUMBER |  |  |  |  | MONTH |  | YEAR
[18 empty] | No Discharge | No
[17 empty] | This is a revised submittal |  | No
WASTEWATER TREATMENT PLANT INFLUENT FLOW AND PRECIPITATION DATA
[6 empty] | Design Average Flow |  |  |  |  | MGD
[6 empty] | Design Peak Hourly Flow |  |  |  |  | MGD
[6 empty] | WWTP Influent Data |  |  |  | Precipitation Data
[10 empty] | Time |  |  |  | Total |  |  |  | Measurement Interval (1hr, 30 m, 15 m)
[6 empty] | Average |  | Peak Hourly |  | Precip. |  | Precip. |  | Daily |  | Peak
[6 empty] | Daily Flow |  | Flow |  | Began |  | Duration |  | Precip. |  | Intensity
05/1/16 | 35 |  |  | UNITS |  | (MGD) |  | (MGD) |  | (AM / PM) |  | (Hours) |  | (Inches) |  | (Inches/ Measurement Interval)
|  |  |  | Sun | 1
|  |  |  | Mon | 2
|  |  |  | Tue | 3
|  |  |  | Wed | 4
|  |  |  | Thu | 5
|  |  |  | Fri | 6
|  |  |  | Sat | 7
|  |  |  | Sun | 8
|  |  |  | Mon | 9
|  |  |  | Tue | 10
|  |  |  | Wed | 11
|  |  |  | Thu | 12
|  |  |  | Fri | 13
|  |  |  | Sat | 14
|  |  |  | Sun | 15
|  |  |  | Mon | 16
|  |  |  | Tue | 17
|  |  |  | Wed | 18
|  |  |  | Thu | 19
|  |  |  | Fri | 20
|  |  |  | Sat | 21
|  |  |  | Sun | 22
|  |  |  | Mon | 23
|  |  |  | Tue | 24
|  |  |  | Wed | 25
|  |  |  | Thu | 26
|  |  |  | Fri | 27
|  |  |  | Sat | 28
|  |  |  | Sun | 29
|  |  |  | Mon | 30
|  |  |  | Tue | 31
|  |  |  | Totals |  | 0 | [5 empty] | 0 |  | 0
[9 empty] | Prepared by or under the direction of (Certified Operator): | [8 empty] | Date (month, day, year)
I certify under penalty of law that this document and all attachments
were prepared under my direction or supervision in accordance with
a system designed to assure that qualified personnel properly | [8 empty] | Preparer's telephone number | [6 empty] | Operator's certification number
and evaluate the information submitted. Based on my inquiry of the
persons who manage the system, or those persons directly
responsible for gathering the information, the information submitted
is to the best of my knowledge and belief, true, accurate, and | [8 empty] | Signature of principal executive officer or authorized agent | [8 empty] | Date (month, day, year)
complete. I am aware that there are significant penalties for | [8 empty] | (or attested by NetDMR subscriber agreement)
submitting false information, including the possibility of fine and
imprisonment for knowing violations.
[9 empty] | Page 3 of |  | 4
1 hr
30 min
15 min

## MMR-Page4
MONTHLY MONITORING REPORT (MMR) FOR WET WEATHER TREATMENT FACILTIES
State Form 56109 (R / 12-21)
|  |  | FACILITY NAME AND ADDRESS: | [8 empty] | Please complete one copy per month, per outfall.
When complete, save as a pdf document with
the following format for the MMR name:
INxxxxxxx_00#X_MMR_YYYY_MM.pdf
(i.e., IN0012345_002CP_MMR_2016_10.pdf)
before attaching to the corresponding netDMR.
E-mail address:
I | N | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | CP | 0 | 5 | 1 | 6
PERMIT NUMBER | [8 empty] | OUTFALL NUMBER |  |  |  | MONTH |  | YEAR
[16 empty] | No Discharge | No
[15 empty] | This is a revised submittal |  | No
COMMENTS ON WHY WET WEATHER TREATMENT FACILITY DISCHARGE OCCURRED
05/1/16 | 35
|  | Sun | 1
|  | Mon | 2
|  | Tue | 3
|  | Wed | 4
|  | Thu | 5
|  | Fri | 6
|  | Sat | 7
|  | Sun | 8
|  | Mon | 9
|  | Tue | 10
|  | Wed | 11
|  | Thu | 12
|  | Fri | 13
|  | Sat | 14
|  | Sun | 15
|  | Mon | 16
|  | Tue | 17
|  | Wed | 18
|  | Thu | 19
|  | Fri | 20
|  | Sat | 21
|  | Sun | 22
|  | Mon | 23
|  | Tue | 24
|  | Wed | 25
|  | Thu | 26
|  | Fri | 27
|  | Sat | 28
|  | Sun | 29
|  | Mon | 30
|  | Tue | 31
[8 empty] | Prepared by or under the direction of (Certified Operator): | [7 empty] | Date (month, day, year)
I certify under penalty of law that this document and all attachments
were prepared under my direction or supervision in accordance with
a system designed to assure that qualified personnel properly | [7 empty] | Preparer's telephone number | [5 empty] | Operator's certification number
and evaluate the information submitted. Based on my inquiry of the
persons who manage the system, or those persons directly
responsible for gathering the information, the information submitted
is to the best of my knowledge and belief, true, accurate, and | [7 empty] | Signature of principal executive officer or authorized agent | [7 empty] | Date (month, day, year)
complete. I am aware that there are significant penalties for | [7 empty] | (or attested by NetDMR subscriber agreement)
submitting false information, including the possibility of fine and
imprisonment for knowing violations.
[8 empty] | Page 4 of |  | 4

## NetDMR Data Upload
Permit_id | permitted_feature_id | limit_set_txt | mped_txt | form_nodi_cd | parameter_cd | monitoring_location_cd | season_num | quant_1_nodi_cd | quant_1_qualifier_txt | quant_1_sample_num | quant_1_effluent_num | quant_2_nodi_cd | quant_2_qualifier_txt | quant_2_sample_num | quant_2_effluent_num | quant_uom_cd | conc_1_nodi_cd | conc_1_qualifier_txt | conc_1_sample_num | conc_1_effluent_num | conc_2_nodi_cd | conc_2_qualifier_txt | conc_2_sample_num | conc_2_effluent_num | conc_3_nodi_cd | conc_3_qualifier_txt | conc_3_sample_num | conc_3_effluent_num | conc_uom_cd | excursions_num | freq_analysis_cd | sample_type_cd | param_nodi_cd | comment_txt
IN |  | CP | 2016-05-31 |  | 50050 | 1 | 0 |  |  |  |  | 9 |  |  |  | 03 | [14 empty] | 01/01 | TM | 9
IN |  | CP | 2016-05-31 |  | 82220 | 1 | 0 |  |  |  |  | 9 |  | 0 |  | 80 | [14 empty] | 01/30 | TM | 9
IN |  | CP | 2016-05-31 |  | 80082 | 1 | 0 | [21 empty] | 19 |  | 01/01 | CP | 9
IN |  | CP | 2016-05-31 |  | 00530 | 1 | 0 | [21 empty] | 19 |  | 01/01 | CP | 9
IN |  | CP | 2016-05-31 |  | 00400 | 1 | 0 | [18 empty] | < |  |  | 12 |  | 01/01 | GR | 9
IN |  | CP | 2016-05-31 |  | 50060 | 1 | 0 | [21 empty] | 19 |  | 01/01 | GR | 9
IN |  | CP | 2016-05-31 |  | 51041 | 1 | 0 | [21 empty] | 3Z |  | 01/01 | GR | 9
IN |  | CP | 2016-05-31 |  | 51484 | Y | 0 | [21 empty] | 4X |  | 01/30 | RT | 9
#
#
#
#
#
#
#
#

## NetDMR No Discharge Upload
Permit_id | permitted_feature_id | limit_set_txt | mped_txt | form_nodi_cd | comment_txt
Do Not use this form with Data!