MUNICIPAL SOLID WASTE LANDFILL

CLOSURE PLAN (329 IAC 10-22)

State Form 50391 (R / 7-06)

Indiana Department of Environmental Management

INDIANA DEPARTMENT OF ENVIRONMENTAL MANAGEMENT

Office of Land Quality

Solid Waste Permits Section - Mail Code 65-45

100 N. Senate Ave.

Indianapolis, IN  46204-2251

INSTRUCTIONS	This application form shall be used to submit closure plans for municipal solid waste landfills (MSWLFs) both individually and with permit applications.   When completed, closure plans should be submitted, either individually or with permit applications, along with support documentation,  to the address given in the box above.

| # I. General Information |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  |  |
| Facility Location |  |  |  |  |  |  |
| Facility County |  | Facility Solid Waste Permit No. (if existing permitted facility) |  |  |  | Total Fill Acreage |
| # II. Closure Activities-General Description |  |  |  |  |  |  |
| Provide a description of the steps that will be used to partially close, if applicable, and finally close the facility. See instructions for items that should be included |  |  |  |  |  |  |

# II. Closure Activities-General Description (continued-copy additional pages as needed)

# III. Final Cover Description

Provide a detailed description of the final cover (see instructions). Attach additional sheets as necessary.

| # IV. Labor, Materials, and Testing |  |  |
| --- | --- | --- |
| Provide a listing of items necessary to close the facility (see instructions). For items that will vary depending upon the number of acres to be closed, the quantities should be indicated on a per acre basis. Include items for both the closure activities and final cover noted above. Use additional sheets as needed. |  |  |
| A. Item | B. Quantity (use applicable unit as appropriate | C. Units (use unit as appropriate) |

| # V. Expected Year of Closure and Closure Schedule |  |  |
| --- | --- | --- |
| Please see instructions; attach additional sheets as necessary. |  |  |
| A. Expected Year of Closure |  |  |
| B. Total Time Required to Close Facility |  |  |
| C. Time Required for Completion of Intervening Closure Activities Provide a description of intervening closure activities and the time required; see instructions. |  |  |
| # VI. Estimate of Maximum Inventory of Waste |  |  |
| # VII. Estimate of Cost Per Acre for Final Cover & Vegetation |  |  |
| Please see instructions; attach additional sheets as necessary. |  |  |
| A. Cover Material Availability, & Acquisition, Placement And Compaction Costs For Areas Closing With A Composite Bottom Liner And A Leachate Collection System-329 IAC 10-22-6(b)) |  |  |
| 1. Percent of Final Cover Material Available from Areas That Are Controlled, and Will be Controlled Through Post-Closure, by the Owner, Operator, or Permittee. |  |  |
| a. Methane gas venting layer material (12 inches) or landfill gas (LFG) extraction well material |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| b. Soil barrier layer material (lower 12 inches-structural fill) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| c. Soil barrier layer material (upper 12 inches-structural fill) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| d. Geomembrane layer – not applicable-delivered to site |  |  |
| e. Drainage layer material |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| f. Top protective soil layer material (18 inches; 30 inches if geosynthetic drainage layer used) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| g. Vegetative Layer (topsoil) (6 inches) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| 2. Cost Per Acre for Acquisition, Placement & Compaction of Final Cover Layers |  |  |
| a. Methane gas venting layer material (12 inches) or LFG Extraction System |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 1,613 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and spreading |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) line 1.a * line 2.a |  |  |

| 3) Installation of gas well system |  |  |
| --- | --- | --- |
| a) Installation unit cost ($/unit) |  |  |
| b) Number of units to be installed |  |  |
| c) Total cost of installation Line 3.a * line 3.b |  |  |
| 4) Testing and QA/QC |  |  |
| a) Lab testing per QA/QC plan ($/acre) |  |  |
| b) Survey cost ($/acre) |  |  |
| c) Testing/CQA cost ($/acre) Line 4.a * line 4.b |  |  |
| 5) Total Cost, Methane Gas Venting Layer ($/Acre) OR LFG System Line 1.e + line 2.b + line 3c +line 4c |  |  |
| b. Soil Barrier Layer Material and Structural Fill (24 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 3,227 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and compaction |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Compaction unit cost ($/yd3) |  |  |
| c) Placement and compaction costs ($/acre) Line 1.a * (line 2.a + line 2.b) |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size, Atterberg limits and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Density and moisture content testing (if planned) ($/acre) |  |  |
| d) Testing cost ($/acre) Line 3.a + line 3.b + line 3.c |  |  |
| 4) Total Cost, Soil Barrier Layer and Structural Fill ($/Acre) Line 1.e + line 2.c + line 3.d |  |  |
| c. Geomembrane Liner |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd2) | 4,840 yd2 |  |
| b) Purchase unit cost ($/yd2) |  |  |
| c) Delivery unit cost ($/yd2) (if applicable) |  |  |
| d) Acquisition cost ($/acre) Line 1.a * (line 1.b + line 1.c) |  |  |

| 2) Placement |  |  |
| --- | --- | --- |
| a) Placement cost ($/yd2) (if applicable and not included in purchasing unit cost) |  |  |
| b) Placement ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Fingerprinting, destructive (shear,and peel tests) & non-destructive seam test) ($/acre) |  |  |
| b) Other testing ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b (if applicable) |  |  |
| 4) Total Cost, Geomembrane Liner ($/Acre) Line 1.d + line 2.b + line 3.c |  |  |
| d. Drainage Layer Material (12 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 1,613 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and spreading |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b |  |  |
| 4) Total Cost, Drainage Layer Material ($/Acre) Line 1.e + line 2.b + line 3.c |  |  |
| e. Top Protective Soil Layer Material Per Acre (18 inches; 30 inches if geosynthetic drainage layer used) If drainage layer constructed of soil, the top protective soil layer must be at least 18 inches thick (2420 yd3/ac); if drainage layer constructed with geosynthetics, the top protective soil layer must be at least 30 inches thick (4033 yd3/ac). |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 2,420 yd3-18 in. layer 4,033 yd3-30 in. layer |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |

| 2) Placement and spreading |  |  |
| --- | --- | --- |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b |  |  |
| 4) Total Cost, Top Protective Soil Layer ($/Acre) Line 1.e + line 2.b + line 3.c |  |  |
| f. Vegetative Layer (topsoil) Material (6 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 807 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement |  |  |
| a) Spreading unit cost ($/yd3) |  |  |
| b) Placement costs ($/acre) Line 1.a * line 2.a |  |  |
| - Total Cost, Vegetative Soil Layer ($/acre) Line 1.e + line 2.b |  |  |
| g. Total Cost Per Acre For Acquisition, Placement & Compaction Of Final Cover Layers Line a.4 + line b.4 + line c.4 + line d.4 + line e.4 + line f..3 |  |  |
| B. Availability, & Acquisition, Placement And Compaction Costs For Areas Closing With A Soil Bottom Liner And A Leachate Collection System With Slopes Equal To Or Less Than 15%-329 Iac 10-22-7(b)(1) |  |  |
| 1. Percent of Final Cover Material Available from Areas That Are Controlled, and Will be Controlled Through Post-Closure, by the Owner, Operator, or Permittee. |  |  |
| a. Soil Barrier Layer Material (24 inches; k ≤1 x 10-7 cm/sec) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| b. Vegetative Layer (lower 12 inches-structural fill) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| 2. Cost Per Acre for Acquisition, Placement & Compaction of Final Cover Layers |  |  |
| a. Soil Barrier Layer Material (24 inches; k ≤ 1 x 10-7 cm/sec) |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 3,227 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and compaction |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Compaction unit cost ($/yd3) |  |  |
| c) Placement/spreading and compaction costs ($/acre) line 1.a * ( line 2.a + line 2.b) |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size, Atterberg limits and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Density testing ($/acre) |  |  |
| d) Testing/CQA cost ($/acre) Line 3.a + line 3.b + line 3.c |  |  |
| 4) Total Cost, Soil Barrier Layer ($/acre) Line 1.e + line 2.c + line 3.d |  |  |
| b. Vegetative Layer (topsoil) Material (6 inches) |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 807 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement |  |  |
| a) Spreading unit cost ($/yd3) |  |  |
| b) Placement costs ($/acre) Line 1.a * line 2.a |  |  |
| - Total Cost, Vegetative Soil Layer ($/acre) Line 1.e + line 2.b |  |  |
| g. Total Cost Per Acre For Acquisition, Placement & Compaction Of Final Cover Layers Line a.4 + line b.3 |  |  |
| C. Availability, & Acquisition, Placement And Compaction Costs For Areas Closing With A Soil Bottom Liner And A Leachate Collection System With Slopes Greater Than 15%-329 IAC 10-22-7(b)(2) |  |  |
| 1. Percent of Final Cover Material Available from Areas That Are Controlled, and Will be Controlled Through Post-Closure, by the Owner, Operator, or Permittee. |  |  |
| a. Soil Barrier Layer Material (24 inches; thickness may be more per approved plan; k ≤1 x 10- 6 cm/sec) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| b. Vegetative Layer |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |

| 2. Cost Per Acre for Acquisition, Placement & Compaction of Final Cover Layers |  |  |
| --- | --- | --- |
| a. Soil Barrier Layer Material (24 inches; k ≤1 x 10-7 cm/sec) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 3,227 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and compaction |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Compaction unit cost ($/yd3) |  |  |
| c) Placement and compaction costs ($/acre) line 1.a * (line 2.a + line 2.b) |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size, Atterberg limits and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Density testing ($/acre) |  |  |
| d) Testing cost ($/acre) Line 3.a + line 3.b + line 3.c |  |  |
| 4) Total Cost, Soil Barrier Layer ($/acre) Line 1.e + line 2.c + line 3.d |  |  |
| b. Vegetative Layer (topsoil) Material (6 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 807 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement |  |  |
| a) Spreading unit cost ($/yd3) |  |  |
| b) Placement costs ($/acre) Line 1.a * line 2.a |  |  |
| - Total Cost, Vegetative Layer (topsoil) ($/acre) Line 1.e + line 2.b |  |  |
| c. Total Cost Per Acre For Acquisition, Placement & Compaction Of Final Cover Layers Line a.4 + line b.3 |  |  |

| D. Availability, & Acquisition, Placement And Compaction Costs For Areas Closing Without A Composite Or Soil Bottom Liner Or A Leachate Collection System, Closing After January 1, 1998, With Slopes Equal To Or Less Than 15%-329 IAC 10-22-7(c)(1) |  |  |
| --- | --- | --- |
| 1. Percent of Final Cover Material Available from Areas That Are Controlled, and Will be Controlled Through Post-Closure, by the Owner, Operator, or Permittee. |  |  |
| a. Methane gas venting layer material (12 inches) or landfill gas (LFG) extraction well material |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| b. Soil barrier layer material (lower 12 inches-structural fill) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| c. Soil barrier layer material (upper 12 inches) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| d. Geomembrane layer – not applicable-delivered to site |  |  |
| e. Drainage layer material (12 inches) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| f. Top protective soil layer material (18 inches; 30 inches if geosynthetic drainage layer used) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| g. Vegetative Layer (topsoil) (6 inches) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| 2. Cost Per Acre for Acquisition, Placement & Compaction of Final Cover Layers |  |  |
| a. Methane gas venting layer material (12 inches) or LFG Extraction System |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 1,613 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and spreading |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) line 1.a * line 2.a |  |  |
| 3) Installation of gas well system |  |  |
| a) Installation unit cost ($/unit) |  |  |
| b) Number of units to be installed |  |  |
| c) Total cost of installation Line 3.a * line 3.b |  |  |
| 4) Testing and QA/QC |  |  |
| a) Lab testing per QA/QC plan ($/acre) |  |  |
| b) Survey cost ($/acre) |  |  |
| c) Testing/CQA cost ($/acre) Line 4.a + line 4.b |  |  |
| 5) Total Cost, Methane Gas Venting Layer ($/Acre) OR LFG System Line 1.e + line 2.b + line 3c +line 4c |  |  |
| b. Soil Barrier Layer Material and Structural Fill (24 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 3,227 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and compaction |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Compaction unit cost ($/yd3) |  |  |
| c) Placement and compaction costs ($/acre) Line 1.a * (line 2.a + line 2.b) |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size, Atterberg limits and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Density and moisture content testing ($/acre) |  |  |
| d) Testing cost ($/acre) Line 3.a + line 3.b + line 3.c |  |  |
| 4) Total Cost, Soil Barrier Layer and Structural Fill ($/Acre) Line 1.e + line 2.c + line 3.d |  |  |
| c. Geomembrane Liner |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd2) | 4,840 yd2 |  |
| b) Purchase unit cost ($/yd2) |  |  |
| c) Delivery unit cost ($/yd2) (if applicable) |  |  |
| d) Acquisition cost ($/acre) Line 1.a * (line 1.b + line 1.c) |  |  |
| 2) Placement |  |  |
| a) Placement cost ($/yd2) (if applicable and not included in purchasing unit cost) |  |  |
| b) Placement ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Fingerprinting, destructive (shear,and peel tests) & non-destructive seam test) ($/acre) |  |  |
| b) Other testing ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b (if applicable) |  |  |
| 4) Total Cost, Geomembrane Liner ($/Acre) Line 1.d + line 2.b + line 3.c |  |  |
| d. Drainage Layer Material (12 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 1,613 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and spreading |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b |  |  |
| 4) Total Cost, Drainage Layer Material ($/Acre) Line 1.e + line 2.b + line 3.c |  |  |
| e. Top Protective Soil Layer Material (18 inches; 30 inches if geosynthetic drainage layer used) If drainage layer constructed of soil, the top protective soil layer must be at least 18 inches thick (2420 yd3/ac); if drainage layer constructed with geosynthetics, the top protective soil layer must be at least 30 inches thick (4033 yd3/ac). |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 2,420 yd3-18 in. layer 4,033 yd3-30 in. layer |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and spreading |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Placement and spreading costs ($/acre) Line 1.a * line 2.a |  |  |
| 3) Testing and QA/QC |  |  |
| a) Tests for grain size ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Testing cost ($/acre) Line 3.a + line 3.b |  |  |
| 4) Total Cost, Top Protective Soil Layer ($/Acre) Line 1.e + line 2.b + line 3.c |  |  |
| f. Vegetative Layer (topsoil) Material (6 inches) |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 807 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement |  |  |
| a) Spreading unit cost ($/yd3) |  |  |
| b) Placement costs ($/acre) Line 1.a * line 2.a |  |  |
| - Total Cost, Vegetative Layer ($/acre) Line 1.e + line 2.b |  |  |
| g. Total Cost Per Acre For Acquisition, Placement & Compaction Of Final Cover Layers Line a.4 + line b.4 + line c.4 + line d.4 + line e.4 + line f.3 |  |  |
| E. Availability, & Acquisition, Placement And Compaction Costs For Areas Closing Without A Composite Or Soil Bottom Liner Or A Leachate Collection System, Closing After January 1, 1998, With Slopes Greater Than 15%-329 IAC 10-22-7(c)(2) |  |  |
| 1. Percent of Final Cover Material Available from Areas That Are Controlled, and Will be Controlled Through Post-Closure, by the Owner, Operator, or Permittee. |  |  |
| a. Soil barrier layer material (24 inches-thickness may be more per approved plan; k ≤1 x 10-6 cm/sec) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| b. Vegetative Layer (topsoil) |  |  |
| 1) % of material |  |  |
| 2) Describe location of sources (include distance from facility) |  |  |
| 2. Cost Per Acre for Acquisition, Placement & Compaction of Final Cover Layers |  |  |
| a. Soil Barrier Layer Material (24 inches) Per Acre, k≤1X10-6 cm/sec |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 3,227 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement and compaction |  |  |
| a) Placement/spreading cost ($/yd3) |  |  |
| b) Compaction unit cost ($/yd3) |  |  |
| c) Placement and compaction costs ($/acre) Line 1.a * (line 2.a + line 2.b) |  |  |

| 3) Testing and QA/QC |  |  |
| --- | --- | --- |
| a) Tests for grain size, Atterberg limits and hydraulic conductivity ($/acre) |  |  |
| b) Survey control for cover thickness ($/acre) |  |  |
| c) Density testing ($/acre) |  |  |
| d) Testing cost ($/acre) Line 3.a + line 3.b + line 3.c |  |  |
| 4) Total Cost, Soil Barrier Layer ($/Acre) Line 1.e + line 2.c + line 3.d |  |  |
| b. Vegetative Layer (topsoil) Material (6 inches) Per Acre |  |  |
| 1) Acquisition |  |  |
| a) Quantity of material needed per acre (yd3) | 807 yd3 |  |
| b) Excavation unit cost ($/yd3) (if obtained on-site) |  |  |
| c) Purchase unit cost ($/yd3) (if obtained off-site) |  |  |
| d) Delivery unit cost ($/yd3) (if obtained off-site) |  |  |
| e) Acquisition cost ($/acre) Line 1.a * line 1.b (on-site) or Line 1.a * (line 1.c + line 1.d) (off-site) |  |  |
| 2) Placement |  |  |
| a) Spreading unit cost ($/yd3) |  |  |
| b) Placement costs ($/acre) Line 1.a * line 2.a |  |  |
| - Total Cost, Vegetative Layer ($/acre) Topsoil Line 1.e + line 2.b |  |  |
| c. Total Cost Per Acre For Acquisition, Placement & Compaction Of Final Cover Layers Line a.4 + line b.3 |  |  |
| F. Cost per Acre to Establish Vegetation (all areas) |  |  |
| 1. Vegetation |  |  |
| a. Seeding unit cost ($/acre) |  |  |
| b. Fertilization unit cost ($/acre) |  |  |
| c. Mulching unit cost ($/acre) |  |  |
| d. Total Vegetation Establishment Costs ($/acre) Line 1.a + line 1.b + line 1.c |  |  |
| G. Cost per Acre to Certify Closure (all areas) |  |  |
| 1. Registered Professional Engineer (PE) |  |  |
| a. Initial review of closure plan (hrs) |  |  |
| b. Total number of inspections |  |  |
| c. Inspection time required (hrs/visit) |  |  |
| d. Total inspection time (hrs) Line 1.b * line 1.c |  |  |
| e. Prepare final documentation of construction of cover (hrs) |  |  |
| f. Total engineer time (hrs) Line 1.a + line 1.d + line 1.e |  |  |
| g. Professional engineer labor cost ($) |  |  |
| h. Professional engineer cost ($) Line 1.f * line 1.g |  |  |
| i. Area of site permitted for filling (acres) |  |  |
| j. Total Closure Certification Costs ($/acre) Line 1.h  line 1.i |  |  |
| H. Other Costs Per Acre For Final Cover And Certification (All Areas) – describe below ($/acre) Activity Cost |  |  |
| Total, Other Costs Per Acre ($/acre) |  |  |
| I. SUBTOTAL, PER ACRE FINAL COVER AND CERTIFICATION COSTS For closure over areas with composite bottom liner system, enter amount no less than $78,750 For closure over areas without composite bottom liner system, enter amount no less than $21,000 Note: for an application for a new MSWLF or major modification submitted on or after April 1, 2005, the minimum closure costs per acre must be adjusted for inflation as described in 329 IAC 10-39-2(c)(1). (Total, Section A.2 + Total, Section B.2, + Total, Section C.2 + Total, Section D.2 + Total, Section E.2 + Total, Section F + Total, Section G + Total, Section H) * (inflation adjustment factor) |  |  |
| VIII. Other Closure Costs |  |  |
| Please give on a total facility basis rather than a per acre basis |  |  |
| A. Notation of Property Deed |  |  |
| B. Other Costs – include here costs for such items as drainage features, gas vents, etc. Activity Cost |  |  |
| Total, Other Costs |  |  |
| C. TOTAL, OTHER CLOSURE COSTS Line A + line B |  |  |
| IX. Total Closure Cost |  |  |
| Total fill acreage * item VII.I (per acre final cover and certification costs)] + item VIII.C (other closure costs) |  |  |
| X. Contingency Cost |  |  |
| Line IX * (0.10) |  |  |
| XI. Total Closure Cost Estimate (including contingency cost) |  |  |
| Line IX + line X |  |  |
| XII. Final Closure Cost Per Acre |  |  |
| Line XI ÷ total fill acreage |  |  |

XIII. Construction Quality Assurance/Quality Control Plan

Attach at the end of this closure plan form a construction quality assurance/quality control plan detailing the quality assurance/quality control steps that will be taken during construction and installation of the final cover system.

Construction quality assurance/quality control plan attached?

XIV. Optional - Information Required For Facilities Incrementally Funding Financial Assurance

Enter "na" on the first line of the table if you are not incrementally funding using one of these options

- Maximum Areas of Waste Deposition and Closure Costs – provide in the table below the listed information for each remaining year of the facility’s life Year; Maximum Area of Waste Deposition (cumulative acres at end of each year; Closure Cost w/o Partial Closure ($); Area Partially Closed (cumulative acres at start of each year); Incremental Closure Cost Estimate ($). Attach additional sheets if your facility's expected remaining lifetime is more than 20 years

- Map of Areas of Waste Deposition - Attach copy of facility's final contour map marked to show the maximum areas of waste deposition for each succeeding year of the remaining life of the facility.

# XV. Largest Closed Area Estimate

Provide an estimate of the largest area of the MSWLF unit ever requiring a final cover at any time during the unit’s proposed active life.

| # XVI. Optional - Estimate Of Yearly Maintenance Costs For A Dike Or Dikes Required For Construction In Flood Plain |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Provide in the table below estimates for the yearly maintenance costs for any dikes you will build if you are constructing your facility in a flood plain. Enter "na" on the first line if not applicable. |  |  |  |  |  |
| Year; Costs ($); Year; Costs ($). Attach additional sheets if your facility’s expected remaining lifetime is more than 20 years. |
| XVII. Signatory Certification |  |  |  |  |  |
| 329 IAC 11-9-3(d) requires that the signatory for a permit application sign the following certification statement: “I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. I further certify that I am authorized to submit this information.” |  |  |  |  |  |
| Applicant’s Name & Title Typed |  | Applicant’s Signature |  |  | Date Signed |
| Applicant’s Typed Address | Street |  | P.O. Box | Town/City |  |